~*                        TOUGH LITTLE CABIN  Release 2

Construction Plans in ASCII and .PCX Files

Designed, Illustrated and Written by Dan Jincks

~                         Copyright Dan Jincks 1990, 92

Box 155A, HCR 77

Annapolis, MO 63620

~                              SHAREWARE

TABLE OF CONTENTS

SHAREWARE NOTICE

PREFACE

ABOUT THE DRAWINGS

OVERVIEW

BEFORE YOU START

WINDOWS, DOORS AND OTHER OPENINGS

FLOOR FRAME CONSTRUCTION

SUB-FLOOR INSTALLATION

WALL AND ROOF FRAMING

ROOF PLYWOOD INSTALLATION

ROOFING INSTALLATION

EXTERIOR WALL PLYWOOD INSTALLATION

INTERIOR FLOOR INSTALLATION

UTILITY PANEL INSERT - WOOD STOVE

INTERIOR PANELING INSTALLATION

INTERIOR CEILING INSTALLATION

FINISHING TOUCHES

~ ILLUSTRATIONS LIST

FLOOR PLAN   (FLPLAN?.PCX)

DEVICE OPENINGS   (OPENING?.PCX)

FLOOR FRAME   (FLOORF?.PCX)

INSTALLATION OF SUB-FLOOR PLYWOOD   (SFLOOR?.PCX)

FRONT WALL FRAMING   (FWALLF?.PCX)

REAR WALL FRAMING   (RWALL?.PCX)

END WALLS FRAMING   (EWALL?.PCX)

ROOF BEAM INSTALLATION   (ROOFA?.PCX)

ROOF FRAMING   (ROOFB?.PCX)

ROOF PLYWOOD AND ROOFING INSTALLATION   (ROOFC?.PCX)

EXTERIOR WALLS PLYWOOD INSTALLATION   (OUTPLY?.PCX)

FLOOR PLYWOOD INSTALLATION   (FLOORP?.PCX)

UTILITY PANEL INSERT FOR A WOOD STOVE FLUE   (UPANEL?.PCX)

INTERIOR PANELING INSTALLATION   (INPLY?.PCX)

**********************************************************************

~* SHAREWARE NOTICE

All materials in this plan package are copyrighted by the author.

This means that it is illegal to make copies of these plans and

distribute them for your profit.  You may freely distribute these

plans so long as they are complete and unaltered, and no fees are

charged for them, except copying costs - not to exceed $5.  All files

must remain together whether they are computer files, or are printed

out.  If these plans are used in an actual construction of a

structure, the user must register and pay a small fee of $15 to the

author.  THESE PLANS ARE COPYRIGHTED SHAREWARE - NOT PUBLIC DOMAIN.

~     About BUZ.EXE - the text file viewer

BUZ.EXE is a versatile ASCII text file viewer/printer utility.  It is

included with Tough Little Cabin Release 2.  When you register

TLCABIN, you are automatically a registered user of BUZ.EXE.  BUZ.DOC

is included to explain about BUZ.EXE.  To view it enter:

BUZ BUZ.DOC

BUZ.EXE is both part of TLCABIN and is also a separate Shareware

program.  It may be distributed (with BUZ.DOC) and registered

separately from TLCABIN.  See BUZ.DOC for the limitations and

conditions of its Shareware distribution.

(To Print, Press "P" Enter "Y")

~     Registration Order Form

If the plans are to be used for construction, register before

beginning.  Registered users will be notified of any corrections or

recommended alterations that may have come to light since the plans

were originated. Registered users may also order sets of Laser Printed

hard copy (super sharp 3300 X 2550 page resolution from vector

drawings and formatted typeset text).  Up to two printed copy sets are

available with each $15 registration.  For printed copy add $5 per

set.

Included with Tough Little Cabin Release 2, is BUZ.EXE, a versatile

ASCII text file viewer/printer utility.  When you become a paid

registered user of Tough Little Cabin, you automatically become a

registered user of BUZ.EXE - for FREE!  See BUZ.DOC for information

about using it for your own purposes.

If you are a paid registered user of a prior version of Tough Little

Cabin, you are automatically registered for Release 2 and BUZ.EXE -

for FREE!  The drawings have not changed, so you do not need to order

drawings or send in this form.

TLCABIN BASIC REGISTRATION -- $15

TLCABIN PRINTED COPY ----- ADD $5  Each Set (Up to 2 per registration)

____________

TOTAL --------------------              PRINTED COPY ____

Name _________________________________________________________________

Company ______________________________________________________________

Address ______________________________________________________________

City __________________________State_______ Zip ______________________

Make payment by check or money order in U.S. Currency to:

DAN JINCKS

BOX 155A, HCR 77

ANNAPOLIS, MO 63620 USA

~ PREFACE

The Tough Little Cabin was originally designed as an earthquake

emergency shelter.  It has an integrated structure specifically

intended to withstand earthquake shock - even if your home doesn't.

There is plenty about that in the text below.  What is interesting

about the design, is that it costs about the same as most weaker

structures the same size.  And probably less then one with a fixed

concrete foundation.  Since it is not tied down and is a reasonable

size, it can be transported.  You can move it after construction or

take it with you if you move.

There is a host of possible uses for small buildings.  It really

doesn't matter if you need it for an emergency shelter or not.  If you

are thinking about needing a small out building you should consider

these plans.  The design came from the actual construction project by

an experienced designer.  They are not just hypothetical untested

plans from a pipe dream drawing board.  It WILL work as described,

since it is described by how it worked out.  If you haven't done any

full scale construction, this is an excellent project to get your feet

wet.  These plans are complete and easy to follow - even for a novice.

Of the many possible uses, some might be: A storage shed, a camping

cabin, a kids playhouse, a gardening shed, an animal breeding shelter,

a spare room, a workshop, a construction site store room, a remote on

site office, a hunting shack, a hobby room (the author is using his as

a photography darkroom), and of course an earthquake emergency

shelter.  Some of the following text is aimed primarily at the

emergency shelter usage, so just skim through those parts if you don't

need such a thing.

It's a strong long lasting design no matter what your specific needs

may be.  The materials costs should be between $500 and $1000.  The

actual cost will depend on factors like your shopping skills and the

local costs in your area.  If you decide to use deluxe finishing

inside or out, the costs will of course go up.  Detailed bill of

material listings are provided to allow you to work up an accurate

cost estimation before you make a commitment to the construction.  A

tool list is also provided.

~ ABOUT THE DRAWINGS

The drawings provided in this plan package are in the most universal

format and resolution believed reasonable by the author.  They are 640

X 350 2 color EGA .PCX files.  Each drawing was divided into 4 parts

so that a readable drawing could be assembled after they are printed

out.  It was a compromise, but it was believed the most acceptable for

the largest majority of IBM computer users.  Files in the .PCX format

can be viewed and printed by many paint programs, and 640 X 350

resolution is available to most 1990 users.  (actually it is 640 X 348

for possible Hercules compatibility).  A Shareware program called

Compushow or CSHOW can be acquired and used to view and print these

files.  A special viewing script for Compushow is included.  Place

this plan set in a directory called C:\CABIN and from your Compushow

directory give the command CSHOWS C:\CABIN\CABIN.SCR and a demo of all

of the drawings will be displayed.  If nothing screens up, Compushow

may not be configured properly for you.  Read the literature with

Compushow.  CSHOW can also print the drawings out for you if you load

a printer driver.  Again read the Compushow literature.

Since the original release of TLCABIN, other PCX viewer/printout

programs have become available as Shareware.  One in particular,

"Graphics Workshop", is an excellent program for viewing and printing

the TLCABIN illustration files.  It is a versatile program, and is

well worth the effort and expense to acquire a trial copy.  Like all

Shareware, if you continue using it, please register and pay the

request registration fee.

There are 14 drawings in a total of 70 .PCX files.  See the table of

contents above, to see which files are for which illustration.  There

are 5 files for each drawing.  The file name of each ends with a

number.  0 is the unreadable overall view, and 1 - 4 are the readable

1/4 divisions of that drawing.  To get readable copy, you must print

out 1 - 4 and piece them together.  This is something of an

inconvenience for sure, but it is the best that can be provided in a

reasonably universal manner to all.  These .PCX files are a bit crude,

but the dimensions were touched up to be clearly readable.  They were

converted from vector files intended for 300 dpi laser printed pages,

so slight offsets and rough looking text did happen.  As stated above,

sharp printed copy is available to registered users.

~ OVERVIEW

This cabin is a tough free standing structure that has many potential

uses.  It can be used as a storage shed, workshop, kids club house,

spare room, or camping cabin.  The basic structure was designed to be

strong enough to withstand and survive the rigors of transport as well

as strong shocks associated with earthquakes.  In addition to the

variety of everyday uses for this utility building, it can be relied

upon to serve as an emergency shelter in the event of a seismic

disaster (major earthquake).

Its construction requires only basic carpentry using readily available

standard building materials and standard carpentry tools.  Most of the

construction techniques are fairly standard and all steps are

thoroughly documented.  A few steps may seem a little unusual to

someone that has done some standard framing construction.  This

structure is designed to withstand and absorb shock without damage, so

these slightly different methods should be tolerated and followed as

given in the instructions.  If you insist on deviating from the plans,

be sure you are adding to the integrity and not creating stress

failure shortcuts.

Every effort was made to keep the material costs down while keeping

the strength to the maximum.  It is designed to have a very long

service life requiring little to no maintenance.  Of course it will

only be as good as the materials and craftsmanship that go into its

construction.  Using low grade materials or being careless in doing

the construction could reduce both strength and longevity.  Don't take

shortcuts that are hard to live with later.

~ If your cabin will be an emergency earthquake shelter, consider:

~     1.  Location

It is very difficult to assess all of the nasty things that can be

caused by an earthquake but some possibilities can be anticipated.

The whole world will literally be tossed around, so things that are

standing now may not be afterwards.  Locate the cabin well clear of

other buildings and trees.  Don't locate it on or near the top or

bottom of a steep grade.  Don't locate it in a flood plain since water

may back up or surge.  Uncontrolled fires can happen after a quake, so

don't locate it near a building, propane tank or brushy wooded area.

Keep it well clear of overhead power lines as well.  Just imagine that

everything that can fall or burn will do so, and you can assess your

location needs from there.

Even if you don't have a good location on your property, there is

still hope.  Since the cabin is transportable, you may be able to

"park" it on some neighboring property.  A location may be able to be

rented for little or nothing.  Be sure that you confirm this before

making the building and expecting something that may not be available.

Be sure that this alternate location is within walking distance of

your home since roads may not be passable.

~     2.  Non-Emergency Uses

It is very tempting to stuff a utility building with stray household

items.  There is nothing wrong with using it for storage as long as

you realize the possible consequences.  What if you need it as an

emergency shelter in the dark of night in sub-zero weather?  Are you

willing to risk the time and effort required to unload it?  You or a

family member may be injured and need immediate shelter.  Large, heavy

unsecured items stored within the cabin could do considerable damage

as they get tossed around inside of it during a quake.

Highly flammable materials such as gasoline or Coleman fuel should

NEVER be stored inside or near the cabin.  Even fairly safe

non-flashing liquids like kerosene are best left outside if practical.

Otherwise pack them securely in a sealed plastic container within

another sealed plastic container.  Propane is another very hazardous

item - leave it outside and turned off.  In addition to the flammable

liquids themselves, devices that contain them should be emptied of all

fuel before storage within the cabin.  This would include lawn mowers,

chain saws, Coleman appliances, etc..  This may seem strict, but in a

winter emergency situation you will need a heat source that

doubtlessly will come from a flame.  If fuel is spilled in the cabin

during the quake, you would not be able to have a flame in the cabin

without risking a fire or explosion!

~     3.  Security

One very real possibility in a quake is that you and your family may

need to vacate your house instantly without any warning or

preparation.  The cabin will become an emergency shelter - but not if

YOU cannot get into it!  You will likely store things in the cabin

that you don't want to have "walk off" so they will need to be locked

up.  If you get separated from the key, you have a problem right in

the middle of the emergency.  Think ahead about this.

The solution will depend on how much security that is required.  In an

area where things don't "walk off" you may leave the door unlocked and

just lock supplies in a cabinet with a combination lock.  If you are

in a security problem area you will need to lock the door.  You could

use a combination lock on a hasp.  If you do use a key lock, stash a

few keys outside somewhere well away from any building.  Don't forget

ice and snow can make some places a bad choice.  It might also be wise

to hide a pry bar just in case the door should jam from the shock.  If

your cabin is to be used as the kids club house or spare room etc.,

keep your emergency supplies locked in cabinets so they don't get

tampered with.

~     4.  Emergency Supplies

To be an effective emergency earthquake shelter, you will need to keep

a stock of emergency supplies in it at ALL times.  This means that no

matter what other uses you have for the cabin, it will always be an

emergency supply storage building to some extent.  The surest way to

accomplish this, is to have permanent cabinets that are only used as

supply storage.  Anchor the cabinets securely to the structure of the

cabin and pack them as if a moving man might drop them off of his

truck.  Be sure first aid, lighting, and blankets are immediately

accessible.  However that you use the cabin on a regular basis, be

sure that you don't block immediate access to your first order

emergency supplies.

Other supplies of less immediate importance, such as food, could be in

cabinets that might be temporarily blocked by other activities.  In

the winter months, be sure that spare winter clothes are quickly

accessible as well.  In the fall, check the operation of your

emergency heating source and be sure that it is reasonably accessible.

Also be sure that you have at least a 2 week supply of fuel.  A 2

month supply is best.  Spare parts for heat and lighting equipment are

advised as well.

A good way to anticipate your emergency supply inventory is to imagine

planning for a 2 month camping experience.  You will be dropped off

buck naked in the middle of winter with no chance of getting any

supplies - except what you have in this cabin.  No utilities -

electric, water, sewer, etc.  will be available on this camping trip.

It's just you and your well stocked cabin for 2 whole months!  Stock

it well and with great care.

As you can see from the above considerations, there are a lot of

things that go into planning an effective emergency earthquake

shelter.  The careful construction and proper usage of this cabin can

go a long way towards protecting you and your family from suffering or

perishing in the event of a major earthquake disaster.  It cannot be

guaranteed that you, or the cabin will withstand all of the

unpredictable effects, but proper preparation may be the difference.

In addition to the basic instructions for constructing this cabin,

there are extra suggestions and safety options.  There are many

excellent illustrations to guide the construction and it is tempting

to just build from the pictures, but please read the text that

accompanies them.  Every step in these instructions were performed by

the author to build an actual cabin.  The author is using this cabin

as his own earthquake emergency shelter in the New Madrid Fault

region, and is depending on it to work - just as you will.

~* BEFORE YOU START

~     DISCLAIMER

The construction of this cabin is completely at your own risk.  While

the author has made every attempt to provide you with a reasonably

safe structure using reasonably safe methods, the risks involved in

the construction and usage of the cabin are not within his control and

are strictly your own.  If this is not satisfactory - do not attempt

the construction.  If you do attempt the construction, it will mean

that you have accepted the condition that all risks taken, are

strictly your own.  In plain English - This means that if you injure

yourself while building the cabin or it does not perform the way that

you expected it to, you cannot blame the author, and if you don't like

this arrangement, you should not construct this cabin.

If you find that something is missing, a dimension for instance, and

you are a registered user.  you can write to the address below.  A

reply will be given as quickly as possible.  Be sure to be specific in

your letter about the nature of the problem.  Address the letter to:

DAN JINCKS

TLCABIN QUESTIONS

BOX 155A, HCR 77

ANNAPOLIS, MO 63620

~     General Considerations and Variations

The cabin can be put to many different uses when not being utilized

for an earthquake emergency shelter.  That was the primary design

criteria for the plans you are now holding.  The first illustration

(floor plan) shows how the interior space was planned to be utilized

by the author.  The locations of windows, door, utility panel and

vents are based on this particular usage of interior space.

You may have an entirely different idea of how you wish to use your

interior floor space.  The locations and numbers of windows, the size

and location of the door and the need for and size of the utility

panel could be adjusted for your own requirements.  If you decide that

you might want to change things around, now is the time to do so -

before you start construction.

Any modification of the original plans will need to be reflected in

each step of the construction and the illustrations that follow will

not be entirely correct for you.  Here are some basic do's and don't

to consider:

1.  Keep the floor to front/rear wall to roof beam connections intact

at spacings averaging 24 inches, with the exception of 1 break in the

front wall structure for a door.  (see the roof beam and front wall

frame illustrations)

2.  Do not put a door in an end wall or exceed the openings

illustrated for the end walls.

3.  Put windows in the front or rear walls between the wall beams,

with not more then 1 on the front and 2 on the rear.  Do not break a

wall beam to install a window.

4.  Fewer and/or smaller windows create a stronger structure than

putting more or bigger windows in.  Eliminating any window illustrated

will be cheaper, warmer in the winter and increase the structure

strength.  Of course windows are good in the summer and let in more

daylight.

5.  The utility panel is optional.  It is intended to serve 3

purposes:

A.  It can be used to create a safe means of venting a wood stove.

B.  The panel is removable so that the wood stove vent could be

installed in a home window to allow the use of wood heat if power is

down and your chimney is damaged.

C.  Other devices may be installed later into the utility opening -

Such as a window air conditioner for a summer workshop or kids room.

If you decide to modify the plan beyond eliminating a window, be sure

to thoroughly study all illustrations so that you realize the

consequences of your changes.  Always try to add structure rather than

take away from it.  For instance if you go with a 4 foot wide utility

door and a lot of large windows (within the limits of the above

guidelines) increase the thickness of your exterior plywood to 1/2"

instead of 3/8" to regain some of the lost structure.  The Device

Openings illustration shows the maximum recommended size openings.

~     Windows, Doors and Other Openings

The cabin, as illustrated, has openings for 4 windows, 1 door, 2

overhead vents, and 1 removable utility panel.  The openings shown are

for standard size pre-manufactured devices that were available at the

time, and in the area, that the original cabin was constructed.  The

door opening is for a pre-hung 32" exterior door.  The windows chosen

were single glazed aluminum frame type that were inexpensive.  The

vents were inexpensive open/close louver vents made of aluminum and

intended to replace an 8" X 16" concrete block.

The actual devices that you can acquire, at a price that you like, may

be somewhat different in size.  The device openings illustration shows

the sizes worked with and the maximum opening sizes recommended.  It

may seem early in the project to choose windows and doors, but it is

not.  It is recommended that you resolve your size needs now and

actually purchase the devices before you start.  This recommendation

is because of inaccuracies and availability problems encountered by

the author.

On the original cabin: The front window size had to be altered because

an "available" window size turned out not to be available after all.

The vents turned out to be a different size then were quoted.

Construction progress was stopped because a window was late in

shipping.  The only available doors were not what was desired and the

door ended up being constructed from a door blank and taking up the

better part of a day to install.  There was a great deal of

frustration and time wasted that could have been avoided if they had

been acquired first.

A special note about the door.  Pre-hung exterior doors are all

intended to open inward.  This is standard and normal.  An inwardly

opening door takes up a fair amount of precious floor space which may

not be desirable in this application (hence the special door on the

original cabin).  An inwardly opening door might also be a hazard,

since if it stuck shut from an earthquake after-shock it would be more

difficult to force if you are inside.  Pre-hung doors also had a

tighter fit then was desired, and appeared that they could jam too

easily.

Hanging a door properly from a blank is an art best left to the

experienced.  If you want an outwardly opening door with a 1/4" gap to

resist jamming, it will need to be a custom installation.  Either get

someone with door experience to help you, or hire a carpenter for at

least the door work.

The main purpose of the utility panel is to provide safe passage for

venting a wood stove.  The utility panel opening (if you want one)

should have a height and width smaller then a window in your house.

That way, it and the wood stove, could be used in your house, until

normal utilities are restored.  Even if you now heat your house with

wood, a masonry chimney is likely to be destroyed by an earthquake,

and you will need a safe temporary alternate vent passage.  (see the

utility panel illustration)

The vents provide cooler conditions in the summer and a source of

smoke exit and fresh air if a wood stove acts up.  They are highly

recommended.

Windows are an interesting problem.  You cannot do without them, but

they are a source of potential trouble.  They are glass and can break

in an earthquake.  Just broken windows in your house, from a winter

quake, could force you to require immediate shelter.  If your shelter

windows break as well, it won't do you much good.  You could replace

the glass in your shelter windows with unbreakable plastic

(polycarbonate or Lexan is best).  You could also leave the glass

windows as they are and make plastic panels that fit the inside of the

frames behind the aluminum windows and only install them in the

winter.  The vents can provide fresh air.  That way as long as the

glass and plastic are both intact, you get double glazed windows and

only need to buy inexpensive single glazed windows.  If the glass

breaks, you are still covered and broken glass will not invade the

cabin either.  Don't make the plastic panels difficult to remove from

the inside, so windows can still be a emergency exit if the door

should jam.

Since the various styles and brands of doors, windows, and vents are

all different, these instructions will not give details about their

installation.  Follow the instructions that accompany them.  Get them

first - and adjust the openings to their true requirements before you

start.

~     Recommended Basic Tool List for the Cabin Construction

7 1/4" Electric circular saw (skill type) with a carbide combination blade

3/8" Electric drill (variable speed reversible recommended)

Special drill bits - 1/4" and 3/8" extended length

Screw driver tip holder for the drill with a phillips tip for the drywall

screws

Saber saw with fine metal cutting and wood blades

Router with a 3/8" - 1/2" square bottom bit

24" Framing square

12" Combination square

15 Foot or longer tape measure

Socket wrench with 1/2" and 9/16" sockets

Adjustable wrench or 9/16" box end wrench

Claw hammer

Heavy hammer

Chalk line

Pry bar

2 Saw horses

Long straight edge ( 6 - 8 foot)

Lead pencils

Fine line felt tip marker

Cord(s) for the electric tools

Small saw - key hole type

Caulking gun

Metal snips

Phillips screw driver

Wood chisel

Utility razor knife

Staple gun

2 - 5 inch or larger "C" clamps

6 Foot step ladder

~* STEP BY STEP CONSTRUCTION OF THE CABIN

~ FLOOR FRAME CONSTRUCTION

Materials required:

2 - 16' 4 x 6 treated pine (must be straight)

7 - 10' 4 x 4 treated pine (must be straight)

11 - 8' 2 x 4 pine

#16 common nails (20 lbs.  for the entire project)

carpenter's wood glue

18 - 3/8 x 5 1/2" lag bolts

18 - 3/8" flat washers

masking tape

General Instructions:

The floor frame is the foundation for the cabin.  Therefore, it's

quality and strength is of high importance to the remaining

construction.  Use only straight high quality lumber for the beams.

Double check measurements, sizes and squareness as you work.  Follow

the instructions carefully step by step.

STEP 1.  Have your materials on hand.

STEP 2.  Cut the 2 - 4 X 6 X 16' skid beams to length and cut the

wedges from the ends.  This will require marking and cutting from both

sides to cut through the 3 1/2" thickness with a 7 1/4" diameter saw.

Keep the wedges for later use.

STEP 3.  Cut the 7 - 4 X 4 X 10' floor beams to length.  Measure and

draw lines on them marking the locations where the skids will be under

them.

STEP 4.  Cut 28 - 2 X 4 pieces about 6" long (from scrap if

available).  Be sure one end is cut square and mark it.

STEP 5.  Measure and draw lines marking the locations of the floor

beams on the tops of the skids.  Then nail down the 2 X 4 pieces on

each side of the floor beam positions.

STEP 6.  Place the skids on a flat surface if possible, or use the

wedges to help level them.  Place the floor beams on the skids and get

them all aligned properly.  Use a framing square to square up

everything.  Starting at the corners, toe a nail through the 2 X 4

pieces into the sides of the floor beams to hold them in position -

keep checking the squareness and positions as you work.

STEP 7.  Double check squareness and position of the beams.  Wrap

masking tape around your extended 1/4" drill bit marking a depth of 5

1/2" and drill that depth through the floor beams into the skids where

they cross.  Wrap masking tape around your extended 3/8" drill bit

marking a depth of 3 1/2" and drill that depth into the previous

holes.  Using a router with a 3/8" to 1/2" square bottom bit, route a

recess around the holes in the floor beams 1/2" deep and large enough

to clear a 3/8" flat washer.  Install 3/8" X 5 1/2" lag bolts with

washers into each hole and tighten securely.  Remove the 4 blocks

outside of the end 4 X 4 floor beams, but leave the remaining 24

blocks in place.

STEP 8.  Cut the 32 - 2 X 4 intermediate members for the floor beams

STEP 9.  Mark the positions of the intermediate members on the floor

beams and nail them into place.  The connections to the 4 X 4 beams

will need to be toed as illustrated.  When installing the outer

intermediate members that are 3 1/2" from the end of the beams, use a

piece of 2 X 4 as a reference to insure proper spacings for the wall

beams that will be installed there later.  Be sure the tops of all

pieces and beams are even.

STEP 10.  Glue and nail the 2 end 8' X 2 X 4s into place using

waterproof carpenter's glue.  Be sure the tops are even with the tops

of the 4 X 4s.

This completes the construction of the floor framing.

~ SUB-FLOOR INSTALLATION

Materials Required:

3 - 4' x 8' sheets of 3/8" c/d exterior plywood

2 - 8' 2 x 4 pine (can be reused later)

2 tubes of liquid nails adhesive or equivalent

#6 galvanized box nails (7 lbs for the entire project)

1 5/8" drywall screws (5 lbs for the entire project)

2 - 3/8 x 3 1/2" lag bolts

2 - 3/8 flat washers

General Instructions:

The sub-floor is both structural and a barrier for the underside of

the cabin.  The fit does not need to be tight and you might even want

to drill 3/8" drain holes in each compartment for condensation relief.

To conserve materials, a gap will remain near the skid beams.  The

tricky part of this operation is to get under the frame.  A method is

suggested below.

STEP 1.  Have your materials on hand.

STEP 2.  If practical, drag the floor frame to the final location of

the cabin for the remainder of the construction.  If you must move it

later, be sure to build it in a place that a truck can get access to

tow or haul it later.  Use a rope or chain to assist dragging it.

STEP 3.  To install the sub-floor, the floor frame must either be

turned over or propped up.  Be sure that at least 2 persons assist in

this operation, since it is heavy!  To prop it up, you will need to

temporarily install a couple of 2 X 4s as supports.  Drill 3/8" holes

near the ends then drill 1/4" tap holes in the end floor beams of the

frame and bolt them together with the 3/8 X 3 1/2" lag bolts.  Do this

on each end of one side.  Leave the bolts slightly loose so the 2 X 4s

can pivot.  Drive stakes (#1) into the ground on the side opposite of

the 2 X 4s.  Lift the side of the frame (using 2 or more people) until

the frame is propped up.  While 1 person steadies the frame, have the

other person drive a stake behind the base of the 2 X 4s and a nail,

near the lag bolt, through the 2 x 4, into the frame -leaving the

heads out a bit, so that you can pull them later.  Study the

illustration before attempting this.

STEP 4.  Measure the actual panel size for the center panels and cut

the sheets of plywood as shown in the illustration.  Then verify their

fit.

STEP 5.  Apply the Liquid Nails adhesive to the frame - one plywood

section at a time and nail it into place, spacing the nails about one

foot apart.  Then go back and install a 1 5/8" drywall screw between

each nail driven.  Do this one panel at a time, for the 3 center

panels and the three upper panels.  Again, you can expect a slight gap

around the edges of the panels.

STEP 6.  Cautiously, remove stakes #2 and the set nails from the 2 X

4s and then gradually lower the frame back to the ground.  Caution!!

Be sure this is done by 2 or more people it is heavy!

STEP 7.  Remove the props from the frame and install them on the

opposite side of the frame and repeat step 3 to prop up the opposite

side of the frame.

STEP 8.  Install the 3 remaining panels as described in step 5.

STEP 9.  Lower the frame and remove the props from the frame.

STEP 10.  Use wedges under the corners of the skids to flatten the

frame before doing the remaining construction.  The flatness can be

tested by stretching string across the frame from diagonally opposite

corners.  When the frame is adjusted flat, the string will just touch

at both of the ends and the center.  Double check the flatness by

"eyeballing" the top of the floor beams from a number of angles.  You

may wish to try to level it as well, but it is not critical to do so.

Flatness of the frame and squareness of future construction is all

that is required.

This completes the installation of the sub-floor and preparation of

the floor frame for future construction.  Take care not to step on the

sub-floor plywood or you could break it loose.

~ WALL AND ROOF FRAMING

Materials Required:

2 - 12' 2 x 4 pine

7 - 10' 2 x 4 pine

65 - 8' 2 x 4 pine

#16 common nails (20 lbs.  for the entire project)

13 - 3/8 x 5 1/2" machine bolts

14 - 3/8 x 3 1/2" machine bolts

27 - 3/8 nuts

54 - 3/8 flat washers

20 - 1/4 x 3 1/2" lag bolts

20 - 1/4 flat washers

carpenter's wood glue

General Instructions:

There are 2 different methods of doing the remaining framing

construction.  Method #1 is probably faster, but requires 2 people to

raise the walls.  Method #2 is probably best if only one person is

doing the construction work.  Both methods will give equally good

results as long as careful attention is given to dimensions, positions

and squareness at each step of the construction.  First review both

methods, and choose the one that suits you best.  5 pages of

illustrations are provided to guide the construction of the framing.

Study them carefully before beginning, and refer to them often.  They

are: Front Wall Frame, Rear Wall Frame, End Wall Frames, Roof Beam

Installation and Roof Framing.

~     WALL AND ROOF FRAMING - METHOD #1

Procedure Summary:

The front and rear wall framing is assembled as units on a horizontal

flat surface and then erected and attached to the floor frame.  The

roof beams are then attached between the front and rear wall beams.

The end walls are then constructed as units on a horizontal flat

surface and installed between the front and rear walls, and the floor

frame.  The roof framing is completed in place on the structure.

Finally the end wall additions are installed.

STEP 1.  Have your materials on hand.

STEP 2.  Locate a large enough flat surface to construct the front

wall framing.  You can build the frames on top of the floor frame if

you place 3 sheets of plywood on top of it.  It is not recommended to

fully install the interior floor yet, but you could temporarily attach

the 3 sheets of plywood that you will be using for that purpose.  Put

the good side down until you do the actual installation later.  They

could be cut to size (see the interior floor illustration) but it

would be best to do that after installing the end walls and verify

their actual sizes.  If rain threatens, be sure to cover them.

STEP 3.  List out and pre-cut all of the 2 X 4 boards needed for the

front wall framing.  Measure, cut accurately and write the lengths on

each piece as you cut them.

STEP 4.  Lay the main wall beams in approximate positions.  Number

them and measure and mark the positions of to horizontal intermediate

members that go between them.

STEP 5.  Nail together the main wall beams and the horizontal

intermediate members as shown, except for the upper 2 boards of the

door header.

STEP 6.  Assemble the remaining parts of the wall frame.  The boards

that are doubled up on the sides of the door opening should be both

glued and nailed as they are installed.  Be sure the door, window and

vent opening sizes are correct before installing their surrounding

members.

STEP 7.  Assemble and install the upper portion of the door header as

illustrated.  Be sure the orientation is correct and use glue as well

as nails.  Use "C" clamps to hold it in place as you nail it.

STEP 8.  Make preparations to erect the wall.  2 persons are required.

Have 2 - 5" "C" clamps, a framing square and 3 extra 8' 2 X 4s (to use

as supports) ready near the floor frame.  See the illustration on the

rear wall frame drawing.  The assembled frame may be wobbly,

especially if you must carry it to the floor frame.  Temporarily

nailing some boards across the top and front will stabilize it.  (But

not below the bottom intermediate members) If you have put plywood on

the floor frame for a working surface, you will need to remove it to

erect the front and rear walls.  You may wish to set the front wall

frame aside, and construct the rear wall frame before removing the

plywood.

STEP 9.  Erect the front wall frame and position it onto the floor

frame.  The lower intermediate members will rest on the floor frame.

While one person steadies the wall, the other should install the

supports.  Nail the support to the floor frame and clamp to the wall

until the squareness is adjusted, then nail the support to the wall as

well.  Do the ends and then add a support near the center.

STEP 10.  Adjust the bottom of each wall beam to properly match its

adjoining floor beam and drive 1 nail to hold the position.  Recheck

and adjust the squareness.  Finish nailing the wall beams to the floor

beams.  Then drill through them and install the bolts as illustrated.

The heads of the outer 2 bolts will need to be recessed with a router.

Leave the supports in place until the end walls are installed later.

STEP 11.  Construct the Rear Wall frame following steps 3, 4, 5 and 6

above, as they apply to the rear wall.

STEP 12.  Erect and attach the rear wall frame following steps 8, 9

and 10 above.  Be sure that it is installed with the right to left

orientation being correct.  See the illustration - it is from the

outside.

STEP 13.  Cut the 7 roof beams to size.

STEP 14.  Starting on one end, install the roof beams one at a time.

Use "C" clamps to get the position and squareness (of the walls)

adjusted, then nail the roof beam to the wall beams.  See the roof

beam installation illustration.  Use the front wall as your squareness

reference and adjust the back wall to be parallel to it.  Removing the

rear wall supports may be required as you work.  After all beams are

in place, drill through them and install the bolts as shown.

STEP 15.  Measure the exact opening size at the top and bottom of the

opening for the right end wall frame.  Note the adjusted dimensions

for the boards used to create the outer wall frame.  (A tight fit is

required for the inserted end wall frames.)

STEP 16.  List out and pre-cut all of the 2 X 4 boards needed for the

right end wall framing.  Measure, cut accurately and write the lengths

on each piece as you cut them.

STEP 17.  On a flat horizontal working surface (as described in step

#2), nail together the 4 boards that form the outer frame.  Then

install a recessed 1/4 X 3 1/2" lag bolt and washer into each corner.

STEP 18.  Assemble the remaining parts of the wall frame.  Be sure

that the window opening size is correct before installing the

surrounding members.

STEP 19.  Erect and install the end wall frame between the front and

rear walls.  You will need to remove any remaining wall supports to do

this.  If it is a good tight fit, as it should be, you may need to do

some pounding to install it.  The outer face of the end wall should be

exactly even with the ends of the front and rear walls.  Nail it into

place and then install the 6 - 1/4 X 3 1/2" lag bolts and washers as

illustrated.

STEP 20.  Assemble the Left Wall frame following steps 15, 16, 17 and

18 above.

STEP 21.  Erect and install the left end wall as in step 19.  Be sure

that the right to left orientation is correct.  The lag bolt within

the utility opening will need to be recessed.

STEP 22.  Measure the tops and bottoms of the front and rear walls to

be sure that the tops are not spread.  If they are, you will need to

compress them until they match.  This can be done by starting at one

end and striking the wall beams, each in turn, with a heavy hammer to

work the gaps out of the intermediate members.  A slight spread will

do no real harm, but this is your last chance to correct this and you

will be fighting any out of squareness later.

STEP 23.  Measure, and cut to size, the 3 sheets of 1/2" A/C plywood

to be used for the interior floor.  (See the floor plywood

illustration) Lay them in place, good side down, so that you have

something to put a ladder on.  Don't install them yet, and cover them

if rain threatens before the roof and wall plywood is done.

STEP 24.  Finish out the roof framing beginning with the 2 front and

rear end boards and then installing the intermediate members, and

finally the end pieces as shown in the illustration.  The end pieces

are basically fillers, so they do not need to be exactly full length.

It might be a good idea to check the measurements of the opening sizes

for the intermediate members before cutting them.

STEP 25.  Install the end wall additions as illustrated.  Each board

length will need to be measured to be a tight fit.  The fit should be

tight but not heavily forced.  The outside faces of these boards

should match the outside face of their end wall.

This concludes the wall and roof framing.

~     WALL AND ROOF FRAMING - METHOD #2

Procedure Summary:

Each set of Front and Rear wall beams, and the Roof beam between them,

are installed individually to the floor frame.  Then the 2 long end

boards for the roof beams are installed to set the proper spacings

between the beams.  The intermediate members in the front and rear

walls are installed.  The end walls are constructed on a flat

horizontal surface and then installed between the front and rear

walls, and floor frame.  The roof framing is completed on the

structure.  Finally the end wall additions are installed.

STEP 1.  Have your materials on hand.

STEP 2.  Cut to size the 6 front wall and 7 rear wall main vertical

beams, and the 7 roof beams.  Refer to the illustrations for Front

Wall Frame, Rear Wall Frame and Roof Beams.

STEP 3.  One at a time, install all 13 of the main wall beams to the

floor frame.  Use a 5" or larger "C" clamp to position and square up

each one, and nail them into place.  Then drill through them and

install the bolts as illustrated.  Be careful that they are installed

on the correct sides of the floor beams.

STEP 4.  Cut to size and install the framing boards and header for the

door opening area of the front wall.  Install supports as shown in the

roof beam illustration for this operation and any other steps that

they are helpful.  Glue as well as nail the doubled up boards beside

the door opening and the header boards.  Be sure of the correct

opening size for you door before doing this.

STEP 5.  Starting on one end, install the roof beams one at a time.

Use "C" clamps to get the position and squareness (of the walls)

adjusted.  Then nail the roof beam to the wall beams.  See the roof

beam illustration.  Use the front wall as your squareness reference

and adjust the back wall to be parallel to it.  Removing the rear wall

supports may be required as you work.  After all beams are in place,

drill through them and install the bolts as shown.

STEP 6.  Cut to size the 2 front and rear end boards for the roof

beams.  Measure and mark the proper positions of the roof beams on

each board.  Then carefully nail them to the roof beams at the marked

locations.  Refer to the Roof Framing drawing.  This will set the

upper spacing of the wall beams so be as accurate as possible.

STEP 7.  Measure and mark the locations of the intermediate members

for the front and rear walls.

STEP 8.  Cut to length and install all of the remaining intermediate

members and framing boards for the front and rear walls.  Be sure the

vent and window opening sizes are correct for your devices.

STEP 9.  Beginning with step #15 in WALL AND ROOF FRAMING - METHOD #1,

complete the framing of the walls and roof by those instructions.

~ ROOF PLYWOOD INSTALLATION

Materials Required:

4 - 4' x 8' sheets of 3/8" c/d exterior plywood

3 tubes of liquid nails adhesive or equivalent

1 5/8" drywall screws (5 lbs.  for the entire project)

#6 galvanized box nails (7 lbs.  for the entire project)

100 sq.  ft.  - 15 lb.  tar paper

1 box 3/8" staples

General Instructions:

The roof plywood is the first structure rigidity locking step.  The

overall squareness of the walls will be set by this installation, so

take your time and get everything as square as possible before you

start.  Recheck the flatness of the floor first, and then square the

walls.  Use support braces to force the walls square if needed.

STEP 1.  Have your materials on hand.

STEP 2.  Check and correct the flatness of the floor frame.  Check and

correct the squareness of the walls.

STEP 3.  Place panel #1 into position and temporarily hold in place

with a few nails.  Don't drive them all the way down.

STEP 4.  Measure the widths of panels #2 and #3.  Cut and temporarily

hold in place with a few nails.  Adjust all three large panels as

required to get a good square fit.  If all 3 sides along the edges of

the roof frame don't seem to square up right, recheck and correct your

wall squareness as much as possible.  If squareness cannot be

completely achieved, try getting at least 2 corners on one side

square.

STEP 5.  Measure, cut and tack into place the remaining 3 panels.

STEP 6.  Get all 6 panels adjusted to your satisfaction.  One at time,

remove a panel, apply Liquid Nails or similar to the roof framing and

nail the panel down at about 12" intervals.  Then go back and install

drywall screws between the nails.  Be sure to screw down to every

portion of the roof frame under each panel.

STEP 7.  After all panels are installed, staple down 15 lb.  tar paper

over the plywood as soon as possible.  Start from the back edge and

lap 4 to six inches.  Overhang the paper about 4 to six inches on all

four sides and tack it to the sides so that the wind won't lift it.

~ ROOFING INSTALLATION

Materials Required:

6 - 10' panels of galvanized corrugated steel (1 1/4" rib spacing)

2 lbs.  of 1" drywall screws or ? lbs.  of special nails

1 tube of clear or silver silicone caulking

General Instructions:

The preferred material for the cabin is corrugated galvanized steel

panels.  They are lighter then shingles and require no maintenance for

a great many years.  The main preference for steel is for fire safety.

Even if a piece of burning wood was on top of the roof, no serious

damage would likely happen.  The same cannot be said for asphalt

shingles.  The size of the roof was designed to allow quick and easy

installation of readily available 10' panels.  If you would rather use

a different type of roofing, try to use a metal material.  Steel is

the best.  Some people think steel gets hotter and makes the building

hotter.  This is not true.  It may FEEL hotter to the touch, but it

actually releases heat much faster then shingles do, so less heat

passes into the structure.  Light colors or metallic finishes also

reflect heat better then dark finishes.

STEP 1.  Have your materials on hand.  Do this on a day with little or

no wind and wear heavy gloves while handling the sheets.

STEP 2.  Position your first panel according to the illustration and

hold it down with 2 - 1" drywall screws.  Drive the screws into raised

ribs, not the valleys.

STEP 3.  Position and screw (with 2 screws each) the rest of the

panels as described in the illustration.

STEP 4.  Once you are satisfied with the locations of the sheets,

fasten them down with 5 rows front to back and 4 fasteners per sheet

per row.  The standard fastener for these panels are nails with

washers or lead caps but they may not work very well, driven into

plywood.  The original cabin roofing was installed with 1" drywall

screws.  Then each head was sealed over with silicone rubber caulking.

Which ever fastener that is used, be sure that they are driven only

into the raised ribs, not the valleys.

This completes the roof installation.

~ EXTERIOR WALL PLYWOOD INSTALLATION

Materials Required:

10 - 4' x 8' sheets of plywood (see instructions for thickness and

type)

1 5/8" drywall screws (5 lbs for the entire project)

#6 galvanized box nails (7 lbs.  for the entire project)

6 tubes of liquid nails adhesive or equivalent

door, windows, and vents

exterior finish - see the instructions

15 sq.  ft.  of 3 1/2" insulation

General Instructions:

Before buying your plywood, some considerations should be reviewed.

First, how will you be finishing the cabin exterior?  Second, are you

putting in windows and a door larger then the plans show?  The basic

recommended plywood thickness is 3/8".  If your openings are enlarged,

the plywood should thickness should be increased to 1/2" instead of

3/8".  The price difference is usually not that great, and the

strength increases considerably.  Your choice of exterior finish

ranges from painted plywood to expensive elegant siding.  There is

even treated plywood that requires no finish.  If you intend to

install siding, basic C/D exterior sheathing grade plywood is all that

is needed.  If you intend to just paint the plywood, A/C exterior

grade plywood would be best.  A/C plywood may cost almost twice as

much as C/D, and by the time you include the cost of the paint, it

makes siding worth looking into.

The original cabin was sided with the same galvanized steel panel

recommended for the roof.  It is tough, long lasting, fire resistant,

available, inexpensive and matched a nearby building.  An appearance

that blends in with the location is a definite consideration.  Siding

costs a fair chunk of the building cost and takes some time and

patience to install correctly.  A time and dollar stretching

compromise might be to paint C/D plywood for now, and when extra time

and/or money become available, install the siding.  Any way that you

decide to handle it, plan to put some sort of finish on immediately,

to weather proof it.

Installing the exterior wall plywood is what really sets the rigidity

of the structure.  Be extra sure that the walls are square to the

floor, and it is not leaning.  Recheck the flatness of the floor first

and then square up the walls by installing temporary supports as

required.  Since you will be starting with the front and rear walls,

try placing the supports on the ends if you can.  Don't put any

plywood on until you are absolutely satisfied with the squareness.

STEP 1.  Have your materials on hand.

STEP 2.  Be sure that the floor is flat and the walls are square.

Adjust with temporary supports as needed.  Install insulation in the

lower and end cavities that cannot be accessed from the interior after

the exterior plywood is installed.

STEP 3.  Beginning on the back wall; measure, cut and place check the

first panel.  (see the Wall Plywood Installation illustration.)  The

panel should overhang the end, equal to the thickness of your plywood.

When you are satisfied with the fit, take it down and apply Liquid

Nails or equal to the wall frame that it contacts.  Nail it into place

at about 12" intervals.  Then go back and drive 1 5/8" drywall screws

between the nail placements.  Be sure screws are driven into every

frame member behind the panel.

STEP 4.  Cut the over all size of the second panel and tack it into

place with a few partially set nails.  Trace the outline of the window

opening from behind.  Take it down and cut the window opening except

about an inch in each corner, so that the panel is stable to handle.

Apply the adhesive to the wall framing.  Nail and screw it into place.

Use a keyhole type saw and finish cutting the window opening when it

is convenient to do so.

STEP 5.  Measure and cut panel #3 being sure it overhangs the end

equal to the thickness of your plywood.  Glue, nail and screw it into

place.

STEP 6.  Install the plywood on the front wall in the same manner as

above.  Remember that it overhangs the ends as well.  Note that panels

#2 and #3 have a staggered step around the window opening and that

panel #3 could be pieced to conserve material.

STEP 7.  Install plywood on the ends in a similar manner as above.

Note that panel #1 on both ends will not quite extend to full height

in the upper front corners, and that a notch for the skid beams is

required for panels #1 and #2 on both ends.

STEP 8.  Install insulation in the cavities under the eves.

STEP 9.  Measure, cut, glue, nail and screw plywood panels under the

eves.

STEP 10.  Optionally install trim strips on the front and rear roof

end faces, and under the roofing edges on the sides.

STEP 11.  Either caulk and paint the plywood, or staple up 15 lb.  tar

paper if using siding.

STEP 12.  Install windows, door and vents.

STEP 13.  Install any desired exterior electrical outlets, generator

input, electrical inputs, etc..

STEP 14.  Install siding if that is the plan.

STEP 15.  Temporarily cover the Utility Panel opening until in is

completed and installed.

This completes the exterior of your cabin.  (Take a well deserved

break and admire your work.)

~ INTERIOR FLOOR INSTALLATION

Materials Required:

3 - 4' x 8' sheets of 1/2" (or thicker) a/c exterior plywood

1 5/8" drywall screws (5 lbs.  for the entire project)

2 tubes of liquid nails adhesive or equivalent

100 sq.  ft.  3 1/2" insulation

1 qt.  oil based floor paint

General Instructions:

Your floor consists of 3 sheets of plywood.  The type used should be

A/C exterior grade.  The thickness should be 1/2" minimum, and thicker

if you intend to put it to heavy use.  Flake or particle board is not

recommended because of formaldehyde release, moisture expansion and

less structural strength per pound.  Insulation should be installed in

the floor cavities.  Since the use of glue is recommended, don't lap

the backing of the insulation over the floor frame.  Drilling drain

holes into the bottom of each cavity for condensation relief is a good

plan, but that will allow insect invasion into the sub-floor area.

The original cabin floor cavities were heavily dusted with

Diatomaceous Earth powder (fossil powder) before the insulation was

installed.  This material is like broken glass and razor blades to

insects, and will eventually kill any that contact it.  It has an

indefinite residual, and is harmless to humans.  It can be found at

organic garden supply stores and possibly feed stores.  (it is used to

kill intestinal parasites in livestock.)

STEP 1.  Have your materials on hand.  Check that there are no high

spots from the intermediate members.  If there are, use a wood chisel

to remove them.

STEP 2.  Drill drain holes through the sub-floor plywood and treat the

cavities with insecticide if desired.

STEP 3.  Install insulation into the floor cavities.  Don't lap the

backing over the floor frame.

STEP 4.  Place panel #1 (a full size sheet) and center it.  An equal

gap of about 3/8" to the front and rear, and equal distance from both

end walls.  Tack it into place with a couple of drywall screws.  (see

the illustration)

STEP 5.  Measure, cut and place panels #2 and #3 so there is about a

1/4" gap by the end walls.

STEP 6.  One at a time, remove a panel and apply Liquid Nails or equal

to the floor frame, replace and screw down with 1 5/8" drywall screws.

Place a screw about every 9" and be sure to screw to every member of

the floor frame.  If the edge gaps are not covered by the wall

paneling later, you can caulk or install trim strips.  (The gaps act

like expansion joints for shrinkage and motion displacement to help

prevent floor buckling)

STEP 7.  Paint the floor with 2 coats of good oil based floor paint

and let dry.

This completes the basic floor installation.  A floor covering of your

choice can also be placed over it.  Carpet is not recommended.  If a

wood stove will be used, take care in your choice of floor covering

within 3' of it in any direction.  It may be best to install floor

covering after any permanent cabinets or fixtures are installed.

~ UTILITY PANEL INSERT - WOOD STOVE

Materials Required:

2 - 8' 2 x 4 pine

1 - 4' x 8' sheet of 3/8" c/d plywood

1 - 3' x 8' sheet 26 ga.  galvanized sheet steel

1 - double flange collar wall pass-through for a wood stove flue

1 - 100 ct box #8 x 1/2" sheet metal screws - phillips head

carpenter's wood glue

silicone rubber caulking

General Instructions:

A wood burning heat source is a valuable item for camping or an

emergency shelter.  It is also a potentially dangerous device as well.

If not throttled back properly the stove and flue pipe can literally

get red hot.  If either is in near contact with an ignitable item, it

will start a fire.  Passing a flue pipe through a wall requires

special precautions to insure safety.  Commercially produced devices

are available to do this, but they need some help.  The small double

flanged collars for about $10 are marginal at best.  (insurance

companies won't approve them) A utility panel insert can be built that

will prevent excess heat build up around the flue exit.  It is used in

conjunction with the flange collar for more positive safety.

(although it has not been rated by insurance companies) Wood stove

operation and safety is something of an art.  If you don't have

experience, find someone that does, to help you get started.  One

serious mistake could burn the place down.

The principal behind the flue panel is simple.  Keep the flammable

materials away and allow air to circulate to keep heat from building

up.  Two hollow cavities with convection venting are created buy the

panel.  The first is all metal and the second is metal covered wood.

This is in addition to the commercial flange collar device.  A triple

safety factor.  Be warm, but be safe.  That is also the reason that

the floor plan has the door located well away from the wood stove.

STEP 1.  Have you materials on hand.  Refer to the illustration.

STEP 2.  Construct a 2 X 4 frame that fits the utility panel opening.

This can be done right in the opening for good accuracy.

STEP 3.  Glue and screw pieces of 3/8" paneling to both the front and

back of the frame.  Use carpenter's wood glue (non flammable type) and

let dry.

STEP 4.  Cut openings in the plywood as illustrated.  Note the drawing

is showing both the inside and outside surface in each step.  The

convection openings are only on the inside.

STEP 5.  Cut pieces of sheet metal to cover the entire face for each

side and set aside for later.

STEP 6.  Cut pieces of sheet metal and install them to form a tunnel

through the 18" square holes.  26 Ga.  steel can be hand formed and

then pounded down with a hammer.  Install with nails because you will

not want screw heads sticking up later.  Also try to overlap them in

the tunnel corners and screw them together.  Seal the corners air

tight with silicone rubber caulking.

STEP 7.  Cut the openings in the steel face panel, for the interior,

with a saber saw.  Drill a hole in the center of each marked cut-out

to insert the saw blade and then cut an "X" diagonally from corner to

corner.  Then you can fold the metal back and avoid sharp edges at the

openings.  The center circle needs to be the size for your

manufactured flange device.  The cut edges of the circle will be

rough, but covered later by the flange.

STEP 8.  Screw the interior face plate to the insert and don't spare

the screws.  Then turn it over and caulk around the face panel and

tunnel inside.

STEP 9.  Temporarily install the exterior steel panel with a couple

screws and turn the assembly over.  Insert the flange collar and use

it as a guide to mark the circle for the other flange tube opening.

Note that the flange tube openings are different sizes since one

slides into the other.

STEP 10.  Remove the exterior face panel and cut the circle out for

the flange tube.  Check the fit of the flanges.

STEP 11.  Place a bead of silicone caulk around the tunnel opening on

the exterior insert face and replace the exterior metal panel and

screw them together - not sparing the screws.

STEP 12.  Install the flange collars from both sides.

STEP 13.  Install the completed insert assembly into the panel opening

with the convection vents inward.  To hold the insert in the wall, lag

bolt pieces of bracket metal to both the insert and inside (and/or

outside) wall face of the cabin.  You can now pass a flue pipe safely

through the wall.

This completes the utility panel insert for a wood stove.  Again, have

an experienced wood stove user inspect your setup and show you the

proper safe operation of your stove.  Don't be a burned beginner!!

~ INTERIOR PANELING INSTALLATION

Materials Required:

10 - 4' x 8' sheets of plywood paneling

3 lbs 1" drywall or paneling screws

5 tubes of liquid nails adhesive or equal (see instructions)

General Instructions:

Before doing the interior paneling, install any electrical wiring

desired and the insulation.  The paneling should be made out of

plywood and be 1/4" thick minimum.  It could be anything from painted

3/8" plywood to fancy 1/4" interior wood grain paneling.  The interior

paneling does add to the building structure, so attach it well.

Installing the insulation and using glue for the paneling installation

conflict with each other.  The facing paper of the insulation is

usually stapled to the framing just where the glue is applied.  A

compromise might be to limit the facing on the framing and apply glue

to only some areas of the framing.  Use of glue is not essential but

highly recommended.  In any case, install the paneling with screws

rather then nails.  Screws are a much more positive attachment means

than nails.

STEP 1.  Install any electrical wiring that is desired.

STEP 2.  Install insulation in all of the wall frame cavities.

STEP 3.  Beginning with the rear wall, cut the full width overall

panel for the center.  Do not extend the panel into the gap between

the floor plywood and the wall frame.  Open the window and remove the

screen so that you can reach through it from the outside.  Tack the

panel into place with a couple of screws and mark as much of the

window as you can from behind it.  Take the panel down and finish

marking the window opening and cut it out except about 1" in the

corners.  That way the panel will remain stable until it is installed.

STEP 4.  Install the center panel with screws at no less then 12"

intervals.  Be sure to screw to every member of the wall framing.

Glue is recommended as well, especially around the window.  Finish

cutting out the window opening with a keyhole type saw.

STEP 5.  Measure, cut and install the outer 2 panels for the back

wall.  Be sure that the vertical cut edges are on the outside wall

corners, not adjacent to the first panel.

STEP 6.  Panel the front wall in the same manner as described above.

You will need a helper to mark the door opening from the outside while

you place the panel from the inside.  The vents will need to be

measured and marked.  The vent openings could be marked and cut out

undersize and then finish cut after the panels are installed, to get

an exact opening fit.

STEP 7.  Measure, cut and install the paneling for the end walls as

shown in the illustration.  Since both panels on each end wall are

full width, install them from the center edges out.  Any gap in the

corners can be covered with trim strips.

STEP 8.  Install trim strips or caulk around the floor edges and wall

corners.  Do not do anything to the tops along the roof.

This completes the interior wall paneling installation.

~ INTERIOR CEILING INSTALLATION

Materials Required:

3 - 4' x 8' sheets of plywood paneling 1/8" thick

1 lb.  - 1" drywall or paneling screws

2 - 12' trim strips (see instructions)

General Instructions:

The material for the roof paneling should be thin and light 1/8" thick

plywood paneling.  Install any electrical wiring and the insulation

first.  The panels can be 3 large sheets or strips the width of each

set of roof beams.  The advantage of strips is that it allows their

removal to anchor beams to the roof beams to build cabinet structures

later.  For this reason, using glue is NOT recommended, at least not

until after all interior structures are completed.

STEP 1.  Install any electrical wiring desired.

STEP 2.  Install insulation into the ceiling cavities.

STEP 3.  The ceiling panels will be sized and positioned just like the

floor panels.  See the flooring illustration and instructions.

Measure the ceiling length.  It will be longer then the 8' sheets.

Divide the amount over 8' equally on both ends.  Using screws, install

the full size center panel.

STEP 4.  Measure, cut and install the 2 outer panels.

STEP 5.  Install trim boards along the front and rear walls.  The trim

boards should be wide enough to cover the gaps left by the ends of the

roof panels.  Use hefty size screws to install them.

STEP 6.  Install trim strips or caulk the edges along the ceiling and

end walls.

STEP 7.  Optionally install trim strips over the 2 seams between the

sheets for added assurance that the panels will stay up.  If you are

installing strips instead of full panels, trim strips can be used to

cover all of the seams.

This completes the installation of the interior ceiling.

~* FINISHING TOUCHES

The basic exterior and interior structure is now completed, but many

details still need to be completed.  The details will be finished in a

different manner by each proud owner of their cabin to match their own

personal needs.  Below is a list of items to consider.

~     Vent Doors

The vents are probably not very air tight when they are closed.  A

hinged interior door with a closure catch and a foam compression

gasket around the edges would create a positive seal.

~     Safety Panels for the Windows

Winter panels made of rigid clear plastic sheeting could be made for

each window to reduce heat loss in the winter.  The best plastic is

polycarbonate (Lexan) because it is unbreakable and will not distort

from normal heat exposure.  The panels should be installed into the

window frame from the inside.  Make at least 1 of them easy to remove,

without tools, so that the window can be opened if needed.

~     Window Covers

Interior covers for each window made of gasketed wood panels hinged to

the wall above the window.  The covers would provide extra security as

well as better insulation on really cold nights.  They can be held

open by a catch on the ceiling, or closed and retained by a catch on

the wall.  If a window is broken, it is a simple matter of closing

that cover until repairs are possible.  This cover would be used on

the window above the beds if the optional bunk bed were employed.

(see floor plan).

~     Storage Cabinets and Counter Tops

The cabin furnishings will certainly include some storage cabinets.

These could be manufactured ones or self-constructed ones.  Regardless

of the type they should be securely anchored to the cabin structure.

Vertical beams could be installed from the floor to the roof beams for

supports.  At the very least, they should be bolted to the walls and

floor.  Refer to the framing illustrations to locate the main beams in

the walls and bolt directly to them.

~     Bedding

Refer to the floor plan illustration for the bedding suggestions.  3

twin mattresses could be stacked and employed as needed.  One pulled

out on the floor beside and one above as a bunk.  The bunk option will

require creating a support structure.  An under mattress plywood

structure board can be stored against the wall behind the mattresses

when not being used.  Then placed onto the support structure when

needed for the bunk.  The support structure would need to be anchored

from floor to ceiling at the end away from the wall.  The addition of

a panel to the support structure would form a wall to create a closet

or small toilet privacy area.  Of course any toilet would be a

port-a-potty type, since there is no plumbing.  Notice the convenient

location of one of the vents just above this possible toilet area.

Store plenty of blankets for the beds.

~     Heating

Any cabin or emergency shelter would require a heat source.  There are

a number of possibilities, but any type of heater used must require no

external utility source to function (electricity or piped in gas).

All portable heaters are dangerous to some degree.  Whether it is

wood, kerosene, or propane; they all consume oxygen and could release

deadly carbon monoxide.  A vent should be open at all times during

their operation.  Exposure of a flammable item to high heat could

start a fire, so be careful about the installation.  Keep a fire

extinguisher on the wall.  Anchor the heater and accessories very

securely.  Never refuel with a flammable liquid inside of the

structure and store the extra fuel outside away from the building.

Have your setup inspected by someone that is experienced with your

type of heater - before you use it.  Then test it, before you actually

need to rely on it.

~     Lighting

A portable lighting source is needed for the cabin.  Battery operated

lights are great for occasional hand use, but a long term lighting

method will be needed.  Kerosene lamps are probably the safest and

most reliable.  Coleman fuel type lights require the use of a very

explosive fuel and need new mantles if banged around.  The also give

off some radiation that is not safe for long term day to day usage,

and they are noisy as well.  Whatever the light source, anchor them

securely and have spare parts for anything that can break or wear out.

The safety rules are the same as for the heaters.

~     Provisions

Everyone has different requirements for provisions.  Food, water, and

clothing are universal.  Store these items carefully and in sufficient

quantity.  Store water in containers that can withstand the expansion

of freezing.  A method of treating questionable water should be kept

as well.  Purification chemicals, micro filters, or a distilling

device are some possibilities.

Food can be in the form of dry grain products and/or canned goods.

The canned food should be in the ribbed steel cans that can withstand

freezing.  Never eat from a can that remains bulged after thawing or

you risk deadly botulism poisoning.  Grain foods should be stored in

sealed rigid containers and inspected occasionally for insect or

rodent invasion.

Store extra clothing.  It can be some that you don't use anymore, that

is out of style or a bit worn.  Extra shoes and winter clothes are a

must.

The cabin is a great place to store all of your camping gear when you

are not using it.  The gear will contain most of the items that are

needed in an emergency shelter.  Be sure that the Coleman fuel stays

out and any appliances are emptied.

The cabin is also a great place to store your tools, especially the

hand operated ones.  They could be real handy in an emergency

situation.  Especially store hammer, nails, hand saws, pry bars and

similar items.

Store first aid items on top for quick access.

Be sure heavy items are stored low and pack everything securely.

END