## Sheet1
floor absorbance: | 0.99
windows without curtains (Y/N) |  | Y | Cc=1.00
windows with net curtains (Y/N) |  |  | Cc=0.93
element name | properties of glazing |  |  |  | JAN | FEB | MAR | APR | MAY | OCT | NOV | DEC
| area | orientation
| Y | south | solar energy E |  | 0.98 | 1.37 | 1.69 | 1.74 | 1.64 | 1.7 | 1.07 | 0.87
| m | tilt
windows without curtains (Y/N) | 0.7 | 90 | shading factor Sf |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Cc | glazing (SG/DG)
| 1 | dg
| types of floor |  | Cf
| b |  | 0 | fi_dg | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| area | orientation
| 0 | north | solar energy E |  | 0.26 | 0.46 | 0.81 | 1.32 | 1.76 | 0.58 | 0.31 | 0.22
| m | tilt
windows with net curtains (Y/N) | 0.7 | 90 | shading factor Sf |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Cc | glazing (SG/DG)
| 1 | dg
| types of floor |  | Cf
| b |  | 0 | fi_dg | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| area | orientation
| 0 | west | solar energy E |  | 0.4 | 0.73 | 1.21 | 1.74 | 2.09 | 0.98 | 0.49 | 0.34
| m | tilt
0 | 0.7 | 90 | shading factor Sf |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Cc | glazing (SG/DG)
| 1 | dg
| types of floor |  | Cf
| b |  | 0 | fi_dg | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| area | orientation
| 0 |  | solar energy E
| m | tilt
element name |  |  | shading factor Sf
| Cc | glazing (SG/DG)
1
| types of floor |  | Cf
|  |  | 0 | fi_dg | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| area | orientation
solar energy E
| m | tilt
shading factor Sf
| Cc | glazing (SG/DG)
1
| types of floor |  | Cf
|  |  | 0 | fi_dg | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
area
TOTAL | #VALUE! |  | fi_dg (kWh/day) |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!