## Sheet1
data
[9 empty] | x= | 0
| m | q | A(0) | A(1) | A(2) | A(3) | A(4) | A(5) |  |  |  | Single glazing
a (U=0,25) |  |  | 0.033682 | -0.00044635 | -8.2132e-05 | 4.2074e-06 | -7.3982e-08 | 4.4344e-10 | y(x)= | 0.033682 |  | 0.23327 | (0.25<U<0.5)
a (U=0,5) | -0.001 | 0.06 | 0.074455 | -0.0030356 | 2.4444e-05 | 1.6251e-06 | -4.1368e-08 | 2.7753e-10 | y(x)= | 0.074455 |  | 0.23327 | (0.5<U<0.7.5)
a (U=0,75) | -0.0016 | 0.087 | 0.10895 | -0.0047386 | 7.2738e-05 | 8.9884e-07 | -3.8098e-08 | 2.9864e-10 | y(x)= | 0.10895 |  | 0.23327 | (0.75<U<1)
a (U=1) | 0.002 | 0.11 | 0.13895 | -0.0064195 | 0.00015015 | -1.5207e-06 | 1.5974e-09 | 4.8265e-11 | y(x)= | 0.13895 |  | 0.23327 | (1<U<1.25)
a (U=1,25) | 0.002 | 0.135 | 0.1655 | -0.0064258 | 5.4879e-05 | 2.8668e-06 | -7.4393e-08 | 5.098e-10 | y(x)= | 0.1655 |  | 0.23327 | (1.25<U<1.5)
a (U=1,5) | 0.002 | 0.155 | 0.19182 | -0.0078619 | 0.00010328 | 2.0734e-06 | -6.9697e-08 | 5.1282e-10 | y(x)= | 0.19182 |  | 0.23327 | (1.5<U<2)
a (U=2) | 0.002 | 0.19 | 0.23327 | -0.0093774 | 0.00016683 | -4.5561e-07 | -2.0307e-08 | 1.7195e-10 | y(x)= | 0.23327
| m | q | A(0) | A(1) | A(2) | A(3) | A(4) | A(5) |  |  |  | Double glazing
b (U=0,25) |  |  | 0.23327 | -0.0093774 | 0.00016683 | -4.5561e-07 | 2.0307e-08 | 1.7195e-10 | y(x)= | 0.23327 |  | 0.073682 | (0.25<U<0.5)
b (U=0,5) | -0.001 | 0.06 | 0.19182 | -0.0078619 | 0.00010328 | 2.0734e-06 | -6.9697e-08 | 5.1282e-10 | y(x)= | 0.19182 |  | 0.073682 | (0.5<U<0.7.5)
b (U=0,75) | -0.0016 | 0.087 | 0.1655 | -0.0064258 | 5.4879e-05 | 2.8668e-06 | -7.4393e-08 | 5.098e-10 | y(x)= | 0.1655 |  | 0.073682 | (0.75<U<1)
b (U=1) | 0.002 | 0.11 | 0.14186 | -0.0072109 | 0.00020761 | -3.2819e-06 | 2.6032e-08 | -7.8431e-11 | y(x)= | 0.14186 |  | 0.073682 | (1<U<1.25)
b (U=1,25) | 0.002 | 0.135 | 0.10895 | -0.0047386 | 7.2738e-05 | 8.9884e-07 | -3.8098e-08 | 2.9864e-10 | y(x)= | 0.10895 |  | 0.073682 | (1.25<U<1.5)
b (U=1,5) | 0.002 | 0.155 | 0.072273 | -0.0023226 | -4.5458e-05 | 4.3189e-06 | -8.5904e-08 | 5.4299e-10 | y(x)= | 0.072273 |  | 0.073682 | (1.5<U<2)
b (U=2) | 0.002 | 0.19 | 0.073682 | -0.0055915 | 0.00024324 | -6.0571e-06 | 7.8904e-08 | -4.1026e-10 | y(x)= | 0.073682
[5 empty] | x= | 0
| m | q
ca | -0.065094 | 1.0003 | A(0): y(x)=; A(1): 1.0003; A(3): 0
cb | -0.08717 | 1.0007 | A(0): y(x)=; A(1): 1.0007; A(3): 0
cc | -0.10321 | 1.0004 | A(0): y(x)=; A(1): 1.0004; A(3): 0
cd | -0.12967 | 1.0002 | A(0): y(x)=; A(1): 1.0002; A(3): 0
ce | -0.13802 | 1.0004 | A(0): y(x)=; A(1): 1.0004; A(3): 0
cf | -0.17726 | 1.0005 | A(0): y(x)=; A(1): 1.0005; A(3): 0
| m | q
da | 0.040566 | 1.0008 | A(0): y(x)=; A(1): 1.0008; A(3): 0
db | -0.051604 | 0.99997 | A(0): y(x)=; A(1): 0.99997; A(3): 0
dc | -0.061415 | 1.0004 | A(0): y(x)=; A(1): 1.0004; A(3): 0
dd | -0.079528 | 1.0005 | A(0): y(x)=; A(1): 1.0005; A(3): 0
de | -0.081415 | 1.0004 | A(0): y(x)=; A(1): 1.0004; A(3): 0
df | -0.10104 | 1.0002 | A(0): y(x)=; A(1): 1.0002; A(3): 0
|  |  | A(0) | A(1) | A(2) | A(3) | A(4) | A(5) |  |  | e | 20 | 40 | 60 | 80 | 100 | 120 | 140 | 160 | 180 | 200
ea |  |  | 0.10209 | 0.021692 | -0.0003331 | 2.6148e-06 | -1.0075e-08 | 1.5143e-11 | y(x)= | 0.10209 | ea | 0.44 | 0.68 | 0.64 | 0.68 | 0.7 | 0.72 | 0.73 | 0.735 | 0.74 | 0.745
eb |  |  | 0.1454 | 0.016641 | -0.00021649 | 1.4841e-06 | -5.158e-09 | 7.2071e-12 | y(x)= | 0.1454 | eb | 0.4 | 0.55 | 0.62 | 0.66 | 0.69 | 0.7 | 0.71 | 0.72 | 0.73 | 0.735
f
[11 empty] | ea | 0.31 | 0.4 | 0.46 | 0.51 | 0.55 | 0.57 | 0.59 | 0.6 | 0.61 | 0.62
[11 empty] | eb | 0.28 | 0.36 | 0.41 | 0.45 | 0.48 | 0.51 | 0.54 | 0.55 | 0.56 | 0.575
g
|  |  | A(0) | A(1) | A(2) | A(3) | A(4) | A(5) |  |  | ea | 0.34 | 0.44 | 0.5 | 0.53 | 0.56 | 0.58 | 0.6 | 0.61 | 0.62 | 0.63
fa |  |  | 0.11963 | 0.012374 | -0.00017807 | 1.5124e-06 | -6.5616e-09 | 1.1077e-11 | y(x)= | 0.11963 | eb | 0.32 | 0.4 | 0.47 | 0.5 | 0.54 | 0.55 | 0.565 | 0.58 | 0.6 | 0.605
fb |  |  | 0.16346 | 0.0058975 | -2.305e-05 | -1.9348e-07 | 2.0419e-09 | -4.9076e-12 | y(x)= | 0.16346 | h
[11 empty] | ea | 0.5 | 0.58 | 0.63 | 0.66 | 0.68 | 0.69 | 0.7 | 0.705 | 0.715 | 0.72
[11 empty] | eb | 0.5 | 0.58 | 0.63 | 0.66 | 0.68 | 0.69 | 0.7 | 0.705 | 0.715 | 0.72
|  |  | A(0) | A(1) | A(2) | A(3) | A(4) | A(5)
ga |  |  | 0.18615 | 0.010289 | -0.00013604 | 1.0711e-06 | -4.4008e-09 | 7.1931e-12 | y(x)= | 0.18615
gb |  |  | 0.14712 | 0.011089 | -0.00014896 | 1.1141e-06 | -4.107e-09 | 5.7993e-12 | y(x)= | 0.14712
|  |  | A(0) | A(1) | A(2) | A(3) | A(4) | A(5)
ha |  |  | 0.3384 | 0.0091248 | -0.00010869 | 7.3316e-07 | -2.6193e-09 | 3.8672e-12 | y(x)= | 0.3384
hb |  |  | 0.351 | 0.0084764 | -9.0601e-05 | 5.2275e-07 | -1.5761e-09 | 2.0163e-12 | y(x)= | 0.351
Jan | [9 empty] | X= | #VALUE!
|  | q | A(0) | A(1) | A(2) | A(3) | A(4) | A(5)
i1 |  | 0.22 | 0.50255 | 0.063724 | -0.0017464 | -0.00015511 | 1.1901e-05 | -1.5345e-07 | y(x)= | #VALUE! | 0
i2 |  | 0.325 | 0.61013 | 0.059659 | -0.0028852 | 3.3518e-06 | 7.0295e-06 | 2.9015e-07 | y(x)= | #VALUE! | 0
i3 |  | 0.4 | 0.67523 | 0.058668 | -0.0016083 | 9.1212e-06 | -8.7298e-05 | 9.3645e-06 | y(x)= | #VALUE! | 0
i4 |  | 0.59 | 0.74971 | 0.055354 | -0.0051198 | 0.00011176 | 0.00014245 | -1.5839e-05 | y(x)= | #VALUE! | 0
i5 |  |  | 0.86187 | 0.038252 | -0.0032345 | 0.00059461 | 5.4847e-05 | -2.5801e-05 | y(x)= | #VALUE! | 0
Feb | [9 empty] | X= | #VALUE!
|  | q | A(0) | A(1) | A(2) | A(3) | A(4) | A(5)
i1 |  | 0.22 | 0.50255 | 0.063724 | -0.0017464 | -0.00015511 | 1.1901e-05 | -1.5345e-07 | y(x)= | #VALUE! | 0
i2 |  | 0.325 | 0.61013 | 0.059659 | -0.0028852 | 3.3518e-06 | 7.0295e-06 | 2.9015e-07 | y(x)= | #VALUE! | 0
i3 |  | 0.4 | 0.67523 | 0.058668 | -0.0016083 | 9.1212e-06 | -8.7298e-05 | 9.3645e-06 | y(x)= | #VALUE! | 0
i4 |  | 0.59 | 0.74971 | 0.055354 | -0.0051198 | 0.00011176 | 0.00014245 | -1.5839e-05 | y(x)= | #VALUE! | 0
i5 |  |  | 0.86187 | 0.038252 | -0.0032345 | 0.00059461 | 5.4847e-05 | -2.5801e-05 | y(x)= | #VALUE! | 0
Mar | [9 empty] | X= | #VALUE!
|  | q | A(0) | A(1) | A(2) | A(3) | A(4) | A(5)
i1 |  | 0.22 | 0.50255 | 0.063724 | -0.0017464 | -0.00015511 | 1.1901e-05 | -1.5345e-07 | y(x)= | #VALUE! | 0
i2 |  | 0.325 | 0.61013 | 0.059659 | -0.0028852 | 3.3518e-06 | 7.0295e-06 | 2.9015e-07 | y(x)= | #VALUE! | 0
i3 |  | 0.4 | 0.67523 | 0.058668 | -0.0016083 | 9.1212e-06 | -8.7298e-05 | 9.3645e-06 | y(x)= | #VALUE! | 0
i4 |  | 0.59 | 0.74971 | 0.055354 | -0.0051198 | 0.00011176 | 0.00014245 | -1.5839e-05 | y(x)= | #VALUE! | 0
i5 |  |  | 0.86187 | 0.038252 | -0.0032345 | 0.00059461 | 5.4847e-05 | -2.5801e-05 | y(x)= | #VALUE! | 0
Apr | [9 empty] | X= | #VALUE!
|  | q | A(0) | A(1) | A(2) | A(3) | A(4) | A(5)
i1 |  | 0.22 | 0.50255 | 0.063724 | -0.0017464 | -0.00015511 | 1.1901e-05 | -1.5345e-07 | y(x)= | #VALUE! | 0
i2 |  | 0.325 | 0.61013 | 0.059659 | -0.0028852 | 3.3518e-06 | 7.0295e-06 | 2.9015e-07 | y(x)= | #VALUE! | 0
i3 |  | 0.4 | 0.67523 | 0.058668 | -0.0016083 | 9.1212e-06 | -8.7298e-05 | 9.3645e-06 | y(x)= | #VALUE! | 0
i4 |  | 0.59 | 0.74971 | 0.055354 | -0.0051198 | 0.00011176 | 0.00014245 | -1.5839e-05 | y(x)= | #VALUE! | 0
i5 |  |  | 0.86187 | 0.038252 | -0.0032345 | 0.00059461 | 5.4847e-05 | -2.5801e-05 | y(x)= | #VALUE! | 0
May | [9 empty] | X= | #VALUE!
|  | q | A(0) | A(1) | A(2) | A(3) | A(4) | A(5)
i1 |  | 0.22 | 0.50255 | 0.063724 | -0.0017464 | -0.00015511 | 1.1901e-05 | -1.5345e-07 | y(x)= | #VALUE! | 0
i2 |  | 0.325 | 0.61013 | 0.059659 | -0.0028852 | 3.3518e-06 | 7.0295e-06 | 2.9015e-07 | y(x)= | #VALUE! | 0
i3 |  | 0.4 | 0.67523 | 0.058668 | -0.0016083 | 9.1212e-06 | -8.7298e-05 | 9.3645e-06 | y(x)= | #VALUE! | 0
i4 |  | 0.59 | 0.74971 | 0.055354 | -0.0051198 | 0.00011176 | 0.00014245 | -1.5839e-05 | y(x)= | #VALUE! | 0
i5 |  |  | 0.86187 | 0.038252 | -0.0032345 | 0.00059461 | 5.4847e-05 | -2.5801e-05 | y(x)= | #VALUE! | 0
Oct | [9 empty] | X= | #VALUE!
|  | q | A(0) | A(1) | A(2) | A(3) | A(4) | A(5)
i1 |  | 0.22 | 0.50255 | 0.063724 | -0.0017464 | -0.00015511 | 1.1901e-05 | -1.5345e-07 | y(x)= | #VALUE! | 0
i2 |  | 0.325 | 0.61013 | 0.059659 | -0.0028852 | 3.3518e-06 | 7.0295e-06 | 2.9015e-07 | y(x)= | #VALUE! | 0
i3 |  | 0.4 | 0.67523 | 0.058668 | -0.0016083 | 9.1212e-06 | -8.7298e-05 | 9.3645e-06 | y(x)= | #VALUE! | 0
i4 |  | 0.59 | 0.74971 | 0.055354 | -0.0051198 | 0.00011176 | 0.00014245 | -1.5839e-05 | y(x)= | #VALUE! | 0
i5 |  |  | 0.86187 | 0.038252 | -0.0032345 | 0.00059461 | 5.4847e-05 | -2.5801e-05 | y(x)= | #VALUE! | 0
Nov | [9 empty] | X= | #VALUE!
|  | q | A(0) | A(1) | A(2) | A(3) | A(4) | A(5)
i1 |  | 0.22 | 0.50255 | 0.063724 | -0.0017464 | -0.00015511 | 1.1901e-05 | -1.5345e-07 | y(x)= | #VALUE! | 0
i2 |  | 0.325 | 0.61013 | 0.059659 | -0.0028852 | 3.3518e-06 | 7.0295e-06 | 2.9015e-07 | y(x)= | #VALUE! | 0
i3 |  | 0.4 | 0.67523 | 0.058668 | -0.0016083 | 9.1212e-06 | -8.7298e-05 | 9.3645e-06 | y(x)= | #VALUE! | 0
i4 |  | 0.59 | 0.74971 | 0.055354 | -0.0051198 | 0.00011176 | 0.00014245 | -1.5839e-05 | y(x)= | #VALUE! | 0
i5 |  |  | 0.86187 | 0.038252 | -0.0032345 | 0.00059461 | 5.4847e-05 | -2.5801e-05 | y(x)= | #VALUE! | 0
Dec | [9 empty] | X= | #VALUE!
|  | q | A(0) | A(1) | A(2) | A(3) | A(4) | A(5)
i1 |  | 0.22 | 0.50255 | 0.063724 | -0.0017464 | -0.00015511 | 1.1901e-05 | -1.5345e-07 | y(x)= | #VALUE! | 0
i2 |  | 0.325 | 0.61013 | 0.059659 | -0.0028852 | 3.3518e-06 | 7.0295e-06 | 2.9015e-07 | y(x)= | #VALUE! | 0
i3 |  | 0.4 | 0.67523 | 0.058668 | -0.0016083 | 9.1212e-06 | -8.7298e-05 | 9.3645e-06 | y(x)= | #VALUE! | 0
i4 |  | 0.59 | 0.74971 | 0.055354 | -0.0051198 | 0.00011176 | 0.00014245 | -1.5839e-05 | y(x)= | #VALUE! | 0
i5 |  |  | 0.86187 | 0.038252 | -0.0032345 | 0.00059461 | 5.4847e-05 | -2.5801e-05 | y(x)= | #VALUE! | 0
Factors a1 and a2 for varoius types of attached sunspace.
Type of sunspace |  |  | A(0): Sunspace with insulated floor; A(5): Sunspace with uninsulated floor
|  |  | A(4): light coloured | light coloured
|  |  | A(4): (alfa=0.3) | (alfa=0.8)
A* | [8 empty] | SG | DG | bar: A(0) to A(1); A(4) to A(5)
|  | a1 | 0.65 | 0.69 |  | a1 | 0.63 | 0.67 | 0.59 | 0.63
|  | a2 | 0.85 | 0.87 |  | a2 | 0.85 | 0.87 | 0.85 | 0.87
B* |  | a1 | 0.70 | 0.74 |  |  | 0.68 | 0.71 | 0.65 | 0.68
|  | a2 | 0.89 | 0.91 |  |  | 0.89 | 0.91 | 0.89 | 0.91
C* |  | a1 | 0.67 | 0.71 |  |  | 0.66 | 0.70 | 0.62 | 0.66
|  | a2 | 0.86 | 0.89 |  |  | 0.86 | 0.89 | 0.86 | 0.89
D* |  | a1 | 0.64 | 0.67 |  |  | 0.62 | 0.66 | 0.59 | 0.63
|  | a2 | 0.91 | 0.92 |  |  | 0.91 | 0.92 | 0.91 | 0.92
E* |  | a1 | 0.87 | 0.90 |  |  | 0.84 | 0.87 | 0.80 | 0.82
|  | a2 | 0.87 | 0.90 |  |  | 0.87 | 0.90 | 0.87 | 0.90
F* |  | a1 | 0.92 | 0.94 |  |  | 0.90 | 0.91 | 0.85 | 0.87
|  | a2 | 0.92 | 0.94 |  |  | 0.92 | 0.94 | 0.92 | 0.94
A | Attached sunspace with 4 collecting surfaces: roof, front and sides.
B | Attached sunspace with 3 collecting surfaces: front and sides.
C | Attached sunspace with 3 collecting surfaces: roof and sides.
D | Attached sunspace with 2 collecting surfaces: sides (opaque roof).
E | Integrated or attached sunspace with 2 collecting surfaces: roof and front.
F | Integrated sunspace with 1 collecting surface: front.
0