## Sheet1
Sunspace: |  | 0
element name | glazing properties |  |  |  | JAN | FEB | MAR | APR | MAY | OCT | NOV | DEC
| area | orientation
| 8.23 | south |  | solar energy | 1.18 | 1.66 | 2.1 | 2.2 | 2.11 | 2.07 | 1.29 | 1.04
glazing
| (SG/DG) | tilt |  | shading factor | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
south glazing | sg | 90
|  |  |  | solar gains | 7.7691 | 10.9294 | 13.8264 | 14.4848 | 13.8922 | 13.6289 | 8.4934 | 6.8474
m
0.8
| area | orientation
| 4.88 | east |  | solar energy | 0.51 | 0.9 | 1.49 | 2.14 | 2.56 | 1.21 | 0.61 | 0.43
glazing
| (SG/DG) | tilt |  | shading factor | 1 | 1 | 1 | 1 | 0.8 | 1 | 1 | 1
east glazing | sg | 90
|  |  |  | solar gains | 1.991 | 3.5136 | 5.817 | 8.3546 | 7.9954 | 4.7238 | 2.3814 | 1.6787
m
0.8
| area | orientation
| 4.88 | west |  | solar energy | 0.51 | 0.9 | 1.49 | 2.14 | 2.56 | 1.21 | 0.61 | 0.43
glazing
| (SG/DG) | tilt |  | shading factor | 1 | 1 | 1 | 1 | 0.97 | 1 | 1 | 1
west glazing | sg | 90
|  |  |  | solar gains | 1.991 | 3.5136 | 5.817 | 8.3546 | 9.6944 | 4.7238 | 2.3814 | 1.6787
m
0.8
| area | orientation
solar energy
glazing
| (SG/DG) | tilt |  | shading factor
|  |  |  | solar gains | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
m
Area
TOTAL | 17.99 |  | solar gains Es (kWh/day) |  | 11.7512 | 17.9566 | 25.4603 | 31.1939 | 31.582 | 23.0766 | 13.2562 | 10.2048
Sunspace: |  | #N/A
Element Name | Glazing Properties |  |  |  | JAN | FEB | MAR | APR | MAY | OCT | NOV | DEC
| area | orientation
| #N/A |  |  | solar energy
glazing
| (SG/DG) | tilt |  | shading factor
#N/A
|  |  |  | solar gains | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
m
| area | orientation
| #N/A |  |  | solar energy
glazing
| (SG/DG) | tilt |  | shading factor
#N/A
|  |  |  | solar gains | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
m
| area | orientation
| #N/A |  |  | solar energy
glazing
| (SG/DG) | tilt |  | shading factor
#VALUE!
|  |  |  | solar gains | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
m
| area | orientation
| #VALUE! |  |  | solar energy
glazing
| (SG/DG) | tilt |  | shading factor
#VALUE!
|  |  |  | solar gains | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
m
Area
TOTAL | #N/A |  | solar gains Es (kWh/day) |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A